The  system works in two major stages:

- Training Stage

- Real-Time Prediction Stage

Below is a simple step-by-step explanation you can send directly to your developer.

1. TRAINING STAGE

The purpose of training is to teach the model how environmental conditions affect energy consumption.

Step 1 — Collect Raw Sensor Data

Sensors continuously collect:

- Temperature

- Humidity

- Occupancy

- Voltage

- Current

- Other environmental parameters

These readings may arrive every second.

Example:

| Time | Temp | Humidity | Occupancy |
| --- | --- | --- | --- |
| 12:00:01 | 30 | 60 | 20 |
| 12:00:02 | 31 | 61 | 21 |
| 12:00:03 | 30 | 60 | 19 |

Step 2 — Group Data Into 5-Minute Windows

Instead of using every second directly, the system groups readings into:

5-minute intervals.

Example:

- Window 1 → 12:00 to 12:05

- Window 2 → 12:05 to 12:10

- Window 3 → 12:10 to 12:15

Step 3 — Aggregate Each 5-Minute Window

For each 5-minute window, calculate summary statistics such as:

- Average temperature

- Average humidity

- Average occupancy

- Average voltage

- Average current

Example:

| Feature | Value |
| --- | --- |
| Avg Temp | 30.8 |
| Avg Humidity | 60.8 |
| Avg Occupancy | 20.4 |

Step 4 — Attach Actual Energy Value

For the same 5-minute window, calculate the actual measured energy consumed.

Example:

| Avg Temp | Avg Humidity | Avg Occupancy | Energy |
| --- | --- | --- | --- |
| 30.8 | 60.8 | 20.4 | 4 kWh |

This becomes:

one training row.

Step 5 — Repeat For All Time Windows

The same process is repeated for all 5-minute intervals to build the full training dataset.

Example:

| Avg Temp | Avg Humidity | Avg Occupancy | Energy |
| --- | --- | --- | --- |
| 30.8 | 60.8 | 20.4 | 4 |
| 35.8 | 70.8 | 81.4 | 9 |
| 28.0 | 55.0 | 10.2 | 2 |

Step 6 — Train the Machine Learning Model

The model learns the relationship between:

- environmental conditions,
and

- energy consumption.

After training:
the model can estimate future energy demand from new sensor inputs.

2. REAL-TIME PREDICTION STAGE

This is how the live system operates after training.

Step 1 — Collect Live Sensor Data Continuously

Sensors continue sending data every second.

Example:

| Time | Temp | Humidity | Occupancy |
| --- | --- | --- | --- |
| 12:00:01 | 35 | 70 | 80 |
| 12:00:02 | 36 | 71 | 82 |
| 12:00:03 | 35 | 70 | 79 |

Step 2 — Maintain Rolling 5-Minute Window

The system continuously stores:

only the most recent 5 minutes of data.

As new readings arrive:

- newest readings are added,

- oldest readings are removed.

This creates:

a rolling/sliding window.

Step 3 — Aggregate Current 5-Minute Window

At every prediction cycle:
calculate:

- average temperature,

- average humidity,

- average occupancy,
etc.

Example:

| Feature | Value |
| --- | --- |
| Avg Temp | 35.8 |
| Avg Humidity | 70.8 |
| Avg Occupancy | 81.4 |

Step 4 — Send Aggregated Features Into The Trained Model

The aggregated values are passed into the trained ML model.

Example input:

- Avg Temp = 35.8

- Avg Humidity = 70.8

- Avg Occupancy = 81.4

Step 5 — Model Predicts Energy Demand

The model outputs:

predicted energy consumption.

Example:

Predicted Energy = 9 kWh

Step 6 — Repeat Continuously

Every second:

- the rolling window updates,

- new averages are recalculated,

- energy prediction updates again.

So predictions become continuous and real-time.

IMPORTANT IMPLEMENTATION NOTE

Although sensor readings arrive every second:

- the model prediction is NOT based on only one second of data.

Instead:

- every prediction uses the latest summarized 5-minute behavior window.

This ensures consistency between:

- training data format,
and

- real-time prediction format.